## CP_20node
Plant Name	Plant Name

FRTU

PS	Power Supply Module 85-265 VAC / VDC 110-300 (6MD2520-0BA00-0AA0)
Voltage Input	85-265V AC / 110-300V DC
Voltage Output	24 V DC/ 2.5A

CPU	CPU Module (6MD2521-0AA10-0AA0)
Own IP Address	192.168.100.171
Subnet Mask	255.255.255.0
Default Router (Default Gateway)	192.168.100.14
SNMP	Disable
SNMP IP Address	0.0.0.0
Sync of Automation Unit	NTP
NTP Server IP Address	0.0.0.0
Sync with Time in minute	5
Time Zone	330 Mins
DO 1-out-of-n-check Parameter	Disable
DO 1-out-of-n-check t	10
T0	30
T1	15
T2	10
T3	20
k	12
w	8
Remote Station 1	192.168.100.72
Remote Station 2	192.168.100.54
SNMP Read Community	public
SNMP Write Community	private
HTTP Web Server	Disable
HTTP Web Server User Name	siemens
HTTP Web Server Password	siemens
CASDU1	255
CASDU2	255
CPU Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01 (I/O Card Timeout)	255	255	255	255	255	1
SW-02 (I/O Card Configuration Mismatch)	255	255	255	255	255	1
SW-03 (RAM Checksum Error)	255	255	255	255	255	1
SW-04 (NTP Timeout)	255	255	255	255	255	1
SW-05 (Board Healthy)	255	255	255	255	255	1
SW-06 (Remote Station 1 Connection)	255	255	255	255	255	1
SW-07 (Remote Station 2 Connection)	255	255	255	255	255	1

M:PRE 1
Message Retry	0.0.0.0
Time Out	1000
Baud Rate	19200
Transmission Mode	Modbus RTU Mode
Data Bits	8 Bits
Stop Bits	1 Bits
Parity	No Parity
Interface Media	RS-485

Node-01
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	1	23	0	151	7	30

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description	Interrog Priority	Modbus Format
Ch-01	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-02	12	56	4	14	251	132	655	200	11	65	9	-10	100	-15000	750	1
Ch-03	122	5	255	144	254	36	64000	950	102	98	9	-100	10000000000	-150000000000	7.5E+016	1
Ch-04	156	45	3	57	77	13	655	999	4	89	13	-102542321	100	-15000784245	750424	1
Ch-05	122	56	4	141	2	13	0	750	24	12	15	0	2.57452425635455E+018	-15000	8	1
Ch-06	124	5	255	0	0	0	24000	657	99	85	33	-78912	-785236523644	3652252525252	750	1
Ch-07	124	56	4	144	1	0	7546	368	22	14	34	45235475552452	1005	-1500025	-1025	1
Ch-08	55	0	3	144	0	13	3265	88	46	172	35	-100000000000	10000	-150000	75000	1
Ch-09	132	44	3	1	1	1	6553	898	74	45	36	-1012	1E+035	-150000	75	1
Ch-10	1	12	4	7	54	98	3562	459	15	78	37	-2.54136852525686E+025	100	-15000	7.50534563453564E+028	1
Ch-11	122	0	255	144	8	13	655	222	0	4	255	123654789987456	100121212	-15000121	-4526526	1
Ch-12	45	1	3	1	251	1	785	123	7	85	37	-101245	10011	-1500011	75011	1
Ch-13	75	10	255	1	11	1	67	658	85	88	34	-104524524	100524	-1500045	750454	1
Ch-14	125	5	3	14	251	10	65531	200	11	75	13	-100	1001	-150002	7505	1
Ch-15	1	0	4	0	0	0	6553	200	11	153	35	-10	100	-15000	750	1
Ch-16	1	0	3	1	0	0	6553	200	11	45	11	-10	100	-15000	750	1
Ch-17	12	0	4	0	0	0	65	200	11	2	35	-10	100	-15000	750	1
Ch-18	12	56	4	0	0	0	6553	200	11	44	37	-10	100	-15000	750	1
Ch-19	0	56	4	14	251	132	5655	200	11	55	9	-10	100	-15000	750	1
Ch-20	12	0	255	14	251	132	856	200	11	85	33	-10	100	-15000	750	1
Ch-21	12	56	4	0	251	132	6553	200	11	75	36	-10	100	-15000	750	1
Ch-22	12	56	3	14	251	132	6552	200	11	12	36	-10	100	-15000	750	1
Ch-23	12	56	4	14	251	132	5	200	11	86	13	-10	100	-15000	750	1
Ch-24	122	56	4	14	251	132	6553	200	11	45	11	-10	100	-15000	750	1
Ch-25	12	56	3	14	251	132	6553	200	11	82	15	-10	100	-15000	750	1
Ch-26	12	56	3		251	132	654	200	11	23	255	-10	100	-15000	750	1
Ch-27	1	5	255	1	251	132	6535	200	11	63	13	-10	100	-15000	750	1
Ch-28	74	56	4	14	251	132	1222	201	53	122	36	-10	100	-15000	7.50121212121212E+019	1
Ch-29	12	56	3	141	10	1	6553	306	10	53	11	-1001010101010	1001010101	-15000101	75010	1
Ch-30	12	10	255	14	10	132	6553	200	11	45	15	-10	100	-15000	750	1
Ch-31	12	56	4	14	251		6553	200	11	45	36	-10	100	-15000	750	1
Ch-32	12	56	255	14	10	132	6553	200	11	45	255	-10	100	-15000	750	1
Ch-33	12	56	255	14	251	132	6553	200	11	45	255	-10	100	-15000	750	1
Ch-34	45	45	4	45	45	45	6553	200	11	45	33	-10	100	-15000	750	1
Ch-35	12	56	4	14	251	132	6553	200	11	45	13	-10	100	-15000	750	1
Ch-36	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-37	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-38	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-39	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-40	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-41	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-42	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-43	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-44	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-45	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-46	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-47	12	56	3	14	251	132	6553	200	11	145	7	-10	100	-15000	750	1
Ch-48	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-49	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1
Ch-50	12	56	3	14	251	132	6553	200	11	45	7	-10	100	-15000	750	1

Node-02
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	5	23	243	12	1	1

Node Channel Configuration
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description	Interrog Priority
Ch-03	255	255	1	255	255	255	65535	255	1
Ch-04	255	255	1	255	255	255	65535	255	1
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description	Interrog Priority	Modbus Format
Ch-01	255	255	3	255	255	255	65535	255	11
Ch-02	255	255	3	255	255	255	65535	255	11
Ch-05	255	255	3	255	255	255	65535	255	11
Ch-06	255	255	3	255	255	255	65535	255	11

Node-03
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	23	23	2	2	2	30

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-11	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-12	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-13	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-14	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-15	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-01	255	255	1	255	255	255	65535	255	1
Ch-02	255	255	1	255	255	255	65535	255	1
Ch-03	255	255	1	255	255	255	65535	255	1
Ch-04	255	255	1	255	255	255	65535	255	1
Ch-05	255	255	1	255	255	255	65535	255	1
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-06	255	255	3	255	255	255	65535	255	11
Ch-07	255	255	3	255	255	255	65535	255	11
Ch-08	255	255	3	255	255	255	65535	255	11
Ch-09	255	255	3	255	255	255	65535	255	11
Ch-10	255	255	3	255	255	255	65535	255	11

Node-04
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	1	2	222	0	0	30

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-11	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-12	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-13	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-14	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-15	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-06	255	255	1	255	255	255	65535	255	1
Ch-07	255	255	1	255	255	255	65535	255	1
Ch-08	255	255	1	255	255	255	65535	255	1
Ch-09	255	255	1	255	255	255	65535	255	1
Ch-10	255	255	1	255	255	255	65535	255	1
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-01	255	255	3	255	255	255	65535	255	11
Ch-02	255	255	3	255	255	255	65535	255	11
Ch-03	255	255	3	255	255	255	65535	255	11
Ch-04	255	255	3	255	255	255	65535	255	11
Ch-05	255	255	3	255	255	255	65535	255	11

Node-05
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	2	25	5	2	25	1

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-01	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-02	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-03	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-04	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-05	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-06	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-07	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-08	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-09	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-10	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-11	255	255	1	255	255	255	65535	255	1
Ch-13	255	255	1	255	255	255	65535	255	1
Ch-14	255	255	1	255	255	255	65535	255	1
Ch-15	255	255	1	255	255	255	65535	255	1
Ch-16	255	255	1	255	255	255	65535	255	1
Ch-17	255	255	1	255	255	255	65535	255	1
Ch-18	255	255	1	255	255	255	65535	255	1
Ch-19	255	255	1	255	255	255	65535	255	1
Ch-20	255	255	1	255	255	255	65535	255	1
Ch-12	255	255	1	255	255	255	65535	255	1

Node-06
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	1	0	0	0	0	1

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-11	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-13	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-14	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-15	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-16	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-17	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-18	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-19	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-20	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-12	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-01	255	255	1	255	255	255	65535	255	1
Ch-02	255	255	1	255	255	255	65535	255	1
Ch-03	255	255	1	255	255	255	65535	255	1
Ch-04	255	255	1	255	255	255	65535	255	1
Ch-05	255	255	1	255	255	255	65535	255	1
Ch-06	255	255	1	255	255	255	65535	255	1
Ch-07	255	255	1	255	255	255	65535	255	1
Ch-08	255	255	1	255	255	255	65535	255	1
Ch-09	255	255	1	255	255	255	65535	255	1
Ch-10	255	255	1	255	255	255	65535	255	1

Node-07
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	10	10	0	0	0	30

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-11	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-13	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-14	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-15	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-16	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-17	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-18	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-19	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-20	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-12	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-01	255	255	3	255	255	255	65535	255	11
Ch-02	255	255	3	255	255	255	65535	255	11
Ch-03	255	255	3	255	255	255	65535	255	11
Ch-04	255	255	3	255	255	255	65535	255	11
Ch-05	255	255	3	255	255	255	65535	255	11
Ch-06	255	255	3	255	255	255	65535	255	11
Ch-07	255	255	3	255	255	255	65535	255	11
Ch-08	255	255	3	255	255	255	65535	255	11
Ch-09	255	255	3	255	255	255	65535	255	11
Ch-10	255	255	3	255	255	255	65535	255	11

Node-08
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	111	1	11	1	111	1

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-01	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-02	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-03	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-04	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-05	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-06	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-07	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-08	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-09	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000
Ch-10	255	255	3	255	255	255	65535	50	10	255	11	0	10000	0	20000

Node-09
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	123	4	5	45	4	30

Node Channel Configuration
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-01	255	255	1	255	255	255	65535	255	1
Ch-02	255	255	1	255	255	255	65535	255	1
Ch-03	255	255	1	255	255	255	65535	255	1
Ch-04	255	255	1	255	255	255	65535	255	1
Ch-05	255	255	1	255	255	255	65535	255	1
Ch-06	255	255	1	255	255	255	65535	255	1
Ch-07	255	255	1	255	255	255	65535	255	1
Ch-08	255	255	1	255	255	255	65535	255	1
Ch-09	255	255	1	255	255	255	65535	255	1
Ch-10	255	255	1	255	255	255	65535	255	1
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-11	255	255	3	255	255	255	65535	255	11
Ch-13	255	255	3	255	255	255	65535	255	11
Ch-14	255	255	3	255	255	255	65535	255	11
Ch-15	255	255	3	255	255	255	65535	255	11
Ch-16	255	255	3	255	255	255	65535	255	11
Ch-17	255	255	3	255	255	255	65535	255	11
Ch-18	255	255	3	255	255	255	65535	255	11
Ch-19	255	255	3	255	255	255	65535	255	11
Ch-20	255	255	3	255	255	255	65535	255	11
Ch-12	255	255	3	255	255	255	65535	255	11

Node-10
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	78	8	74	44	251	1

Node Channel Configuration
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-11	255	255	1	255	255	255	65535	255	1
Ch-13	255	255	1	255	255	255	65535	255	1
Ch-14	255	255	1	255	255	255	65535	255	1
Ch-15	255	255	1	255	255	255	65535	255	1
Ch-16	255	255	1	255	255	255	65535	255	1
Ch-17	255	255	1	255	255	255	65535	255	1
Ch-18	255	255	1	255	255	255	65535	255	1
Ch-19	255	255	1	255	255	255	65535	255	1
Ch-20	255	255	1	255	255	255	65535	255	1
Ch-12	255	255	1	255	255	255	65535	255	1
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-01	255	255	3	255	255	255	65535	255	11
Ch-02	255	255	3	255	255	255	65535	255	11
Ch-03	255	255	3	255	255	255	65535	255	11
Ch-04	255	255	3	255	255	255	65535	255	11
Ch-05	255	255	3	255	255	255	65535	255	11
Ch-06	255	255	3	255	255	255	65535	255	11
Ch-07	255	255	3	255	255	255	65535	255	11
Ch-08	255	255	3	255	255	255	65535	255	11
Ch-09	255	255	3	255	255	255	65535	255	11
Ch-10	255	255	3	255	255	255	65535	255	11
Ch-21	255	255	3	255	255	255	65535	255	11
Ch-23	255	255	3	255	255	255	65535	255	11
Ch-24	255	255	3	255	255	255	65535	255	11
Ch-25	255	255	3	255	255	255	65535	255	11
Ch-26	255	255	3	255	255	255	65535	255	11
Ch-27	255	255	3	255	255	255	65535	255	11
Ch-28	255	255	3	255	255	255	65535	255	11
Ch-29	255	255	3	255	255	255	65535	255	11
Ch-30	255	255	3	255	255	255	65535	255	11
Ch-22	255	255	3	255	255	255	65535	255	11

Node-11
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	12	12	11	0	1	1

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-11	255	255	3	255	255	255	65535	50	10	12	11	0	10000	0	20000
Ch-13	255	255	4	255	255	255	65535	50	10	14	11	0	10000	0	20000
Ch-14	255	255	4	255	255	255	65535	50	10	15	11	0	10000	0	20000
Ch-15	255	255	255	255	255	255	65535	50	10	16	11	0	10000	0	20000
Ch-16	255	255	3	255	255	255	65535	50	10	17	11	0	10000	0	20000
Ch-17	255	255	4	255	255	255	65535	50	10	18	11	0	10000	0	20000
Ch-18	255	255	255	255	255	255	65535	50	10	19	11	0	10000	0	20000
Ch-19	255	255	3	255	255	255	65535	50	10	20	11	0	10000	0	20000
Ch-20	255	255	4	255	255	255	65535	50	10	21	255	0	10000	0	20000
Ch-12	255	255	255	255	255	255	65535	50	10	13	11	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-21	255	255	255	255	255	255	65535	22	1
Ch-23	255	255	1	255	255	255	65535	24	1
Ch-24	255	255	2	255	255	255	65535	25	30
Ch-25	255	255	255	255	255	255	65535	26	30
Ch-26	255	255	1	255	255	255	65535	27	1
Ch-27	255	255	2	255	255	255	65535	28	1
Ch-28	255	255	255	255	255	255	65535	29	30
Ch-29	255	255	255	255	255	255	65535	255	1
Ch-30	255	255	1	255	255	255	65535	255	1
Ch-22	255	255	255	255	255	255	65535	23	30
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-01	255	255	3	255	255	255	6553	2	35
Ch-02	255	255	3	255	255	255	65535	3	9
Ch-03	255	255	3	255	255	255	65535	4	11
Ch-04	255	255	3	255	255	255	65535	5	13
Ch-05	255	255	4	255	255	255	65535	6	11
Ch-06	255	255	255	255	255	255	65535	7	9
Ch-07	255	255	255	255	255	255	65535	8	255
Ch-08	255	255	255	255	255	255	65535	9	37
Ch-09	255	255	3	255	255	255	65535	10	11
Ch-10	255	255	4	255	255	255	65535	11	11

Node-12
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	12	111	32	2	12	30

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-11	255	255	3	255	255	255	65535	50	10	21	36	0	10000	0	20000
Ch-13	255	255	255	255	255	255	65535	50	10	23	35	0	10000	0	20000
Ch-14	255	255	3	255	255	255	65535	50	10	24	34	0	10000	0	20000
Ch-15	255	255	4	255	255	255	65535	50	10	25	33	0	10000	0	20000
Ch-16	255	255	255	255	255	255	65535	50	10	26	15	0	10000	0	20000
Ch-17	255	255	3	255	255	255	65535	50	10	27	13	0	10000	0	20000
Ch-18	255	255	4	255	255	255	65535	50	10	28	9	0	10000	0	20000
Ch-19	255	255	255	255	255	255	65535	50	10	29	7	0	10000	0	20000
Ch-20	255	255	3	255	255	255	65535	50	10	30	9	0	10000	0	20000
Ch-12	255	255	4	255	255	255	65535	50	10	22	35	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-01	255	255	1	255	255	255	65535	11	1
Ch-02	255	255	2	255	255	255	65535	12	30
Ch-03	255	255	255	255	255	255	65535	13	30
Ch-04	255	255	1	255	255	255	65535	14	1
Ch-05	255	255	2	255	255	255	65535	15	1
Ch-06	255	255	255	255	255	255	65535	16	255
Ch-07	255	255	1	255	255	255	65535	17	1
Ch-08	255	255	2	255	255	255	65535	18	255
Ch-09	255	255	255	255	255	255	65535	19	1
Ch-10	255	255	1	255	255	255	65535	20	30
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-21	255	255	4	255	255	255	65535	31	9
Ch-23	255	255	3	255	255	255	65535	33	13
Ch-24	255	255	4	255	255	255	65535	34	15
Ch-25	255	255	255	255	255	255	65535	35	33
Ch-26	255	255	3	255	255	255	65535	36	34
Ch-27	255	255	4	255	255	255	65535	37	35
Ch-28	255	255	255	255	255	255	65535	38	36
Ch-29	255	255	3	255	255	255	65535	39	37
Ch-30	255	255	4	255	255	255	65535	40	255
Ch-22	255	255	255	255	255	255	65535	32	11

Node-13
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	45	74	44	121	1	30

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-01	255	255	4	255	255	255	65535	50	10	255	7	0	10000	0	20000
Ch-02	255	255	3	255	255	255	65535	50	10	46	9	0	10000	0	20000
Ch-03	255	255	3	255	255	255	65535	50	10	47	11	0	10000	0	20000
Ch-04	255	255	3	255	255	255	65535	50	10	48	13	0	10000	0	20000
Ch-05	255	255	4	255	255	255	65535	50	10	49	13	0	10000	0	20000
Ch-06	255	255	3	255	255	255	65535	50	10	50	15	0	10000	0	20000
Ch-07	255	255	4	255	255	255	65535	50	10	51	33	0	10000	0	20000
Ch-08	255	255	3	255	255	255	65535	50	10	52	34	0	10000	0	20000
Ch-09	255	255	4	255	255	255	65535	50	10	53	35	0	10000	0	20000
Ch-10	255	255	3	255	255	255	65535	50	10	54	36	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-21	255	255	2	255	255	255	65535	65	30
Ch-23	255	255	255	255	255	255	65535	67	30
Ch-24	255	255	2	255	255	255	65535	68	30
Ch-25	255	255	255	255	255	255	65535	69	255
Ch-26	255	255	1	255	255	255	65535	70	1
Ch-27	255	255	1	255	255	255	65535	71	30
Ch-28	255	255	2	255	255	255	65535	72	1
Ch-22	255	255	255	255	255	255	65535	66	1
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-11	255	255	3	255	255	255	65535	55	37
Ch-13	255	255	3	255	255	255	65535	57	7
Ch-14	255	255	4	255	255	255	65535	58	9
Ch-15	255	255	3	255	255	255	65535	59	11
Ch-16	255	255	4	255	255	255	65535	60	13
Ch-17	255	255	3	255	255	255	65535	61	15
Ch-18	255	255	3	255	255	255	65535	62	33
Ch-19	255	255	4	255	255	255	65535	63	34
Ch-20	255	255	3	255	255	255	65535	64	35
Ch-12	255	255	4	255	255	255	65535	56	255

Node-14
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	41	12	52	1	1	1

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-01	255	255	3	255	255	255	65535	50	10	9	11	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-02	255	255	2	255	255	255	65535	10	255
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-03	255	255	4	255	255	255	65535	11	35

Node-15
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	78	9	9	9	9	1

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-03	255	255	3	255	255	255	65535	50	10	7	35	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-01	255	255	2	255	255	255	65535	5	30
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-02	255	255	4	255	255	255	65535	6	15

Node-16
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	123	12	12	1	0	1

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-01	255	255	4	255	255	255	1231	50	10	10	37	0	10000	0	20000
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-03	255	255	2	255	255	255	63666	30	30
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-02	255	255	3	255	255	255	64000	20	34

Node-17
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	2	22	222	2	222	1

Node Channel Configuration
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-01	255	255	4	255	255	255	65535	52	15

Node-18
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	253	56	75	10	101	1

Node Channel Configuration
Receive Binary Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Station Number	TI	Description
Ch-01	255	255	1	255	255	255	65535	52	1

Node-19
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	42	12	15	111	1	1

Node Channel Configuration
Receive Measured Value
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	Modbus Address	Thresh Additive	Thresh Uncond	Station_Number	TI	X_0 Per	X_100 Per	Y_0 Per	Y_100 Per	Description
Ch-01	255	255	4	255	255	255	65535	50	10	32	15	0	10000	0	20000
Ch-02	255	255	4	255	255	255	655	550	1	53	35	0	100	0	200

Node-20
Node Diagnostics
Name	CASDU1	CASDU2	IOA1	IOA2	IOA3	TI
SW-01	75	22	222	1	12	1

Node Channel Configuration
Receive Measured Value Without Processing
Name	CASDU1	CASDU2	Function Code	IOA1	IOA2	IOA3	modbus Address	Station Number	TI	Description
Ch-01	255	255	4	255	255	255	65535	4	37
Ch-02	255	255	3	255	255	255	65535	255	36
Ch-03	255	255	255	255	255	255	65535	25	35
Ch-04	255	255	3	255	255	255	65535	255	35
Ch-05	255	255	4	255	255	255	65535	2	34
Ch-06	255	255	3	255	255	255	65535	52	33
Ch-07	255	255	255	255	255	255	65535	53	255